IDA F 60 (e)

IDA Ref. No:

ON-SITE EVALUATION OF A CALIBRATION LABORATORY

|  | Date(s) of evaluation: |  |  | Duration (days) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Assessor: |  |  |  |  |  |  |  |  |  |  |
|  | Observer: |  |  |  |  |  |  |  |  |  |  |
|  | Name of Laboratory: |  |  |  |  |  |  |  |  |
|  | Area / Field of Operation: |  |  |  |  |  |  |  |  |
|  | Laboratory Representative: |  |  |  |  |  |  |  |  |
|  | Address of On-site |  |  |  |  |  |  |  |  |
|  | Evaluation: |  |  |  |  |  |  |  |  |  |
|  | CALIBRATION FUNCTION BEING EVALUATED |  |  |  |  |  |  |  |
|  | C = Conforms | NC = Non-conformance | NA = Not Applicable |  |  |  | C/NC/NA |  |
|  | Clause |  | 1. Quality Documentation (Please clearly identify what was looked | at during the evaluation) |  |  |  |
|  | ISO/IEC |  |  |  |  |  |  |  |  |  |  |  |
| 17025 |  |  |  |  |  |  |  |  |  |  |  |
| 4.1.3 |  | Does the management system cover work conducted away from the permanent facilities? |  |
|  |  |  | Is there a documented procedure for performing on-site calibrations? |  |  |  |  |
|  |  |  | Does the procedure cover the following: |  |  |  |  |  |  |  |
| 5.5.4 |  | Identification of reference standards and equipment to be used? |  |  |  |  |
| 5.5.6 |  | Packing and transportation of equipment? |  |  |  |  |
| 5.5.10 |  | On-site intermediate checks of standards? |  |  |  |  |
| 5.2.3 |  | Supervision of personnel where necessary? |  |  |  |  |
| 5.4.2 |  |  | Calibration procedures? |  |  |  |  |  |  |  |
| 5.10.2 |  |  | Calibration certificates? |  |  |  |  |  |  |  |
| 5.3 |  | Recording of the environmental conditions? |  |  |  |  |
| 4.13.2 |  | Records of on-site activities? |  |  |  |  |  |  |  |
|  | Issue No.: 1 |  |  | Page 1 of 2 | Date of Issue: 2019-07-15 |

IDA F 60 (e)

| Clause | 2. Witnessing or Vertical Assessment of a calibration performed on-site |
| --- | --- |
| ISO/IEC |  |  |
| 17025 |  |  |
| 5.5.6 | Was the equipment handled and transported in such a manner so as to prevent |  |
|  | damage to the equipment, and change to its metrological values? |  |
| 5.3.2 | Was the environment fit for purpose? |  |
|  | Were the ambient environmental conditions recorded? |  |
|  | Were intermediate checks conducted prior to taking measurements? |  |
| 5.5.10 |  |  |
| 5.2.3 | Were the metrologists proven competent to perform on – site calibrations? How? |  |

| 5.8.3 | Was the item to be calibrated inspected to determine its condition prior to calibration? |  |
| --- | --- | --- |
| 4.4.2 | Was the customer consulted to determine his requirements prior to the |  |
|  | commencement of the calibration? |  |
|  | Were records kept of pertinent discussions with the customer? |  |
| 5.4.1 | Were approved calibration procedures used? |  |
| 4.13.2.1 | Were results recorded? |  |
| 4.13.2.2 | Were the records kept identifiable to the on-site activity? |  |
|  | Does the Certificate of Calibration specify that the calibration was performed on-site? |  |
| 5.10.2 | Is the address of the on-site location listed on the certificate? |  |
| b) |  |  |

- Recommendation (Please make a clear recommendation)

Signed

Technical Assessor:

| Signed | Date: |
| --- | --- |
| Lead Assessor: |  |

Issue No.: 1	Page 2 of 2	Date of Issue: 2019-07-15